## Sheet1
Laterals
|  |  |  | #1 | #2 | #3 | #4 | #5 | #6
This calculates one valve (line) at a time.
type numbers into spaces below
# of emitters or drip sprays per lateral
avg GPH per emitter or drip spray
# of laterals
|  |  | total avg GPH | 0 | 0 | 0 | 0 | 0 | 0
|  |  | total avg GPM | 0 | 0 | 0 | 0 | 0 | 0
|  |  | total avg GPM of all laterals | #1: #DIV/0!
(compare to chart below)
3/4" schedule 40 = 7 GPM
1" schedule 40 = 12 GPM
1/2" tubing lateral: stated limit of 100 ft before pressure loss.
Techline lateral: stated limit of 300 ft before pressure loss.
This is a simple calculator. A more complex version will be created later.
There are other design calculations to consider and will be explained in the Design series.
If you find any issues with this calculator or have ideas for improvement,
let me know at: info@sprinklerpros.net
Thank you
| Drip System |  |  | Laterals #4: Copyright 2021 Tom Lanier
| Lateral Calculator |  |  | Laterals #4: Lanier Landscapes, Inc.